TEMCO CONTROLS LTD.

4416 South Parkside Court, Spokane, Washington, USA 99223

Tel: (214) 306-6069  Fax: (206) 350 0330

CE - DECLARATION OF CONFORMITY

According to ISO/IEC Guide 22 and EN 45014

Manufacturer's Name:    Temco Controls

Manufacturer's Address:  4416 South Parkside Court

Spokane, Washington, USA , 99223

Declares that the product (s):

# Product Name: WTS Series Water Temperature Sensor

# Heating& Solar Applications

Model Numbers: WTS-WP-4-6  WTS-WP-4-7  WTS-WP-6-2  WTS-WP-4-12

Product Options:      All

Conforms to the following Product Specifications:

EN 50081-1:1992   Generic Emission Standard, Residential

EN 50082-1:1997  Generic Immunity Standard, Residential

ENV 50204:1995  RF Electromagnetic Field Immunity   Level A

EN 55022:1998  Radiated and Conducted Emissions  Class A

EN 61000-3-2:1999   Power Line Harmonics   Class D

EN 61000-3-3:1998  Power Line Fluctuations

EN 61000-4-2:1995   ESD Immunity  Level B

EN 61000-4-3:1996  RF Electromagnetic Field Immunity Level A

EN 61000-4-4:1995  EFT/Burst Immunity  Level B

EN 61000-4-5:1995  Surge Immunity  Level B

EN 61000-4-6:1996  Conducted Immunity Level A

EN 61000-4-11:1994  Voltage Dips / Interruptions  Level B/C/C/C

Supplementary Information

The product(s) herewith comply with the requirements of the EMC Directive 89/336/EEC.  The product(s) were tested in a typical configuration.

FCC Compliance Information

This equipment has been tested and found to comply with the limits for a Class A digital device, pursuant to part 15 of the FCC Rules. These limits are designed to provide reasonable protection against harmful interference when the equipment is operated in a commercial environment. This equipment generates, uses, and can radiate radio frequency energy and, if not installed and used in accordance with the instruction manual, may cause harmful interference to radio communications. Operation of this equipment in a residential area is likely to cause harmful interference in which case the user will be required to correct the interference at his own expense.

Industry Canada Compliance Statement

ICES-003  This Class A digital apparatus meets all requirements of the Canadian Interference-Causing Equipment Regulations  Cet appareil numérique de la Classe A Respecte toutes les exigences du Règlement sur le matérial brouiller du Canada

Maurice Duteau

General Manager